STANDARD FACILITY REPORT -- UNITED STATES

Registrars Committee of the American Association of Museums

Adopted 1998

Borrowing Institution Profile

| Name of Borrowing Institution/Loan Venue |  |
| --- | --- |
| Contact Person |  |
| Title |  |
| Mailing Address |  |
| Street Address |  |
| Shipping Address |  |
| Telephone Number |  |
| Fax Number |  |
| E-mail Address |  |
| World Wide Web URL |  |
| Purpose of Loan/ Exhibition Title |  |
| Dates at Loan Venue |  |

STANDARD FACILITY REPORT

Adopted by the Registrars Committee

American Association of Museums, 1998

NOTICE

IT IS UNDERSTOOD THAT THE INFORMATION INDICATED IN THIS FORM IS CRITICALLY CONFIDENTIAL AND WILL BE USED BY THE POTENTIAL LENDING INSTITUTION ONLY IN EVALUATING FACILITIES OF POTENTIAL BORROWERS AND IN PREPARING APPLICATIONS FOR INDEMNITY.  THIS FORM MUST BE STORED IN A SECURE LOCATION AND NO COPIES ARE TO BE MADE OR DISTRIBUTED WITHOUT THE EXPRESS CONSENT OF THE SUBJECT INSTITUTION.  THIS FORM MUST NOT BE DISTRIBUTED VIA FAX.

INSTITUTION NAME:

Please attach a floor plan of the museum, indicating:

- where borrowed object(s) will be displayed

- receiving area

- location of reception areas

- location of portable fire extinguishers, fire suppression and detection systems

Floor plan attached									  Yes		  No

Please indicate the system of measurement used to report dimensions and weight capacities for your museum:

English measure (feet, inches, miles, etc.)

International System of Units (IS) (meters, centimeters, kilograms, kilometers, etc.)

1. GENERAL INFORMATION

1.1  Is your institution currently accredited by the American Association of Museums?	  Yes		  No

If yes, date of most recent accreditation decision

1.2  Check the type(s) that best describe your institution:

Museum (non-profit)

Aquarium				  History

Arboretum/Botanical Garden		  Natural History/Anthropology

Art					  Nature Center

Children’s/Youth			  Science

General				  Zoo

Historic House			  Other (specify)

University				  Cultural Organization

Museum or Gallery			  Library

Student Center/Union		  Religious Institution

Library				  Civic/Exhibition Center

Department	     			  Fair Building

Other (specify)

Other (specify)

GENERAL INFORMATION (cont.)

Geographic Profile

Contact your local fire department and/or municipal building department for assistance in answering questions 1.3 through 1.6.

1.3  Is your building located in an earthquake or earth movement prone zone?		 Yes		 No

Please consult the map in the printed report to determine the number corresponding to the area in which your building is located.  Use the blank below to indicate the seismic zone number listed on the map.

Seismic Zone

1.4  Is your building located in an area designated as a flood zone or next to a body of water

which can overflow its boundaries?							 Yes		 No

If so, what is the flood rating for your building?

Explain rating method:

1.5  Is your building located in an area subject to other natural catastrophes such as

hurricanes, tornadoes, or severe windstorms?						 Yes		 No

If yes, is your building equipped with working storm shutters?			 Yes		 No

If yes, what types of shutters?

1.6  Is your institution in a designated brush zone?					 Yes		 No

Staff and Major Contractors

1.7  Use the matrix below to provide information on key museum staff members who will work with temporary or traveling exhibitions.  Provide both work and home numbers for employees.  Under employment status, please indicate if employee is a full- or part-time staff member or is a contractor.  If employee is a contractor, provide the name of the contracting firm or organization.  Please provide the specialty of curators and conservators.  Attach a continuation sheet if necessary.

| POSITION | NAME | TITLE | TELEPHONE/FAX NUMBERS | E-MAIL ADDRESSES | EMPLOYMENT STATUS (F/T, P/T, Contractor) |
| --- | --- | --- | --- | --- | --- |
| Director (Chief Exec. Officer) |  |  | Work: Home: Fax: |  |  |
| Security Supervisor |  |  | Work: Home: Fax: |  |  |
| Registrar I |  |  | Work: Home: Fax: |  |  |
| Registrar II |  |  | Work: Home: Fax: |  |  |
| Shipping/Receiving Officer |  |  | Work: Home: Fax: |  |  |
| Curator I | Specialty: |  | Work: Home: Fax: |  |  |
| Curator II | Specialty: |  | Work: Home: Fax: |  |  |
| Conservator I | Specialty: |  | Work: Home: Fax: |  |  |
| Conservator II | Specialty: |  | Work: Home: Fax: |  |  |
| Customs Broker |  |  | Work: Home: Fax: |  |  |

2. BUILDING CONSTRUCTION, CONFIGURATION AND MAINTENANCE

General

2.1  Please indicate the dates your original building and any subsequent additions were completed.  Use an “x” to indicate the gallery/areas where loan items will be stored and displayed.

|  | Date of Completion | Loan Item Storage Area | Loan Item Display Area |
| --- | --- | --- | --- |
| Original Building |  |  |  |
| Addition 1 |  |  |  |
| Addition 2 |  |  |  |
| Addition 3 |  |  |  |

2.2  What type of building materials were used for your original building?

[Indicate "x" where appropriate]

| Original Building | Adobe | Brick | Concrete | Glass | Safety Glass | Steel | Stone | Wood | Fabric/ Carpet | Other (specify) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Exterior Walls |  |  |  |  |  |  |  |  |  |  |
| Interior Walls |  |  |  |  |  |  |  |  |  |  |
| Floors |  |  |  |  |  |  |  |  |  |  |
| Ceilings |  |  |  |  |  |  |  |  |  |  |
| Structural Supports |  |  |  |  |  |  |  |  |  |  |

What type of building materials were used for subsequent additions?  Attach an additional sheet if 	necessary.  [Indicate "x" where appropriate]

| Addition 1 | Adobe | Brick | Concrete | Glass | Safety Glass | Steel | Stone | Wood | Fabric/ Carpet | Other (specify) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Exterior Walls |  |  |  |  |  |  |  |  |  |  |
| Interior Walls |  |  |  |  |  |  |  |  |  |  |
| Floors |  |  |  |  |  |  |  |  |  |  |
| Ceilings |  |  |  |  |  |  |  |  |  |  |
| Structural Supports |  |  |  |  |  |  |  |  |  |  |

2.3  Indicate ("x") the most appropriate description of your building and any additions.  Contact your local fire department or municipal building department for assistance, if necessary, in answering this question.

|  | Type I -- Fire Resistive | Type II -- Non-Combustible | Type III -- Ordinary | Type IV -- Heavy Timber | Type V -- Wood Frame |
| --- | --- | --- | --- | --- | --- |
| Original Building |  |  |  |  |  |
| Addition 1 |  |  |  |  |  |
| Addition 2 |  |  |  |  |  |
| Addition 3 |  |  |  |  |  |

If your original building or any additions are Type I -- Fire Resistive, is there a sprayed-on

fire retardant?									  Yes		  No

BUILDING CONSTRUCTION, CONFIGURATION AND MAINTENANCE (cont.)

2.4  Are all structures free-standing?							  Yes		  No

If no, provide a physical description and the purpose of the larger structure into which it is incorporated 	and how museum access is restricted/monitored:

2.5  Are you undergoing renovation at this time?						  Yes		  No

2.6  Do you anticipate any construction or renovation projects during the proposed loan

period?											  Yes		  No

If yes, explain:

2.7  How many floors does your building have?

If more than one floor, indicate mode of access between levels:

Stairs 	  Elevator	  Other (specify)

Are floors divided by three-hour fire doors?					  Yes		  No

Temporary Exhibition Space(s)

2.8  Indicate the layout of your temporary exhibition area(s):

One large room		  Series of small rooms

Other (specify)

2.9  What is the load capacity of exhibition gallery floors (if it pertains to the loan object(s) in question)?

2.10  Are any temporary exhibition spaces located in public activity areas such as lobbies,

lounges, hallways, libraries, cafes, classrooms, etc.?					  Yes		  No

If yes, describe:

2.11  Are the temporary exhibition areas used only for viewing?				  Yes		  No

If no, what other function(s) do they serve?

2.12  Are there any water fixtures or accessories such as plumbing pipes, sprinkler systems,

water fountains, etc., located in or above temporary storage or exhibition areas?		  Yes		  No

If yes, describe:

BUILDING CONSTRUCTION, CONFIGURATION AND MAINTENANCE (cont.)

2.13  Do you have a modular wall partition/panel system?				  Yes		  No

If yes, indicate means of support:

Supported at floor and ceiling		  Supported only at floor

Indicate the materials used in construction:

2.14  Describe the type and location of public activities that take place in your building, other than exhibitions:

Do these activities take place in temporary exhibition galleries?			  Yes		  No

2.15  Are eating and drinking ever permitted in:

Temporary exhibition galleries?							  Yes		  No

Temporary exhibition storage?							  Yes		  No

Receiving area?									  Yes		  No

Temporary exhibition preparation area?						  Yes		  No

If yes, please explain:

2.16  Do you make routine inspections for rodent, insect and microorganism problems?	  Yes		  No

If yes, describe means and frequency:

2.17  Do you undertake routine extermination/fumigation procedures?			  Yes		  No

If yes, describe methods, products used, and frequency:

Describe what course of action you would take if and when an infestation occurs:

2.18  Please supply details of how the exhibition area is managed during an exhibition with regard to routine lamp replacement, cleaning procedures, and checking of equipment:

BUILDING CONSTRUCTION, CONFIGURATION AND MAINTENANCE (cont.)

Shipping and Receiving

2.19  What are your normal receiving hours?

2.20  Can you accommodate a delivery at times other than these hours?			  Yes		  No

2.21  How are large shipments received?

2.22  What is the largest size vehicle your loading area will accommodate (if it pertains to the loan objects in question)?

2.23  Do you have (or have access to) the following?  Please “x” all that apply and provide requested details, if they relate to the loan item(s) in question.

Shipping/receiving door	(dimensions: H        W      )

Raised loading dock		(height from ground:      )

Dock leveler

Forklift			(weight capacity:      )

Hydraulic lift			(weight capacity:       )

Crane			(weight capacity:      )

Ramp			(length:      )

Scaffolding			(height:       )

Other			(specify:      )

2.24  What is the maximum size crate your shipping/receiving door can accommodate?

(H        W        D      )

2.25  If you do not have a shipping/receiving door or a raised dock, how do you receive shipments? (Describe loading area and indicate on attached floor plan)

2.26  Is your loading area:		  Sheltered		  Enclosed		  Neither

2.27  Describe security precautions taken in your loading area:

2.28  Do you have a secure receiving area separate from the loading area?		  Yes		  No

(Dimensions: L       W       Ceiling H      )

If yes, is this area used only for exhibition objects?				  Yes		  No

If not, please describe other uses.

BUILDING CONSTRUCTION, CONFIGURATION AND MAINTENANCE (cont.)

2.29  How is access to the receiving area controlled?

2.30  Where do you usually unpack/repack/prepare objects for exhibition?  (Indicate by numbering all appropriate items in priority order, with 1 being the space most frequently used.)

Receiving room				   Exhibition galleries

Exhibition preparation room			   Storage area

In-house packing facility			   Outside packing facility

2.31  Do you utilize an off-site packing/preparation facility?				  Yes		  No

If yes, indicate the most appropriate description:

Museum property		  Commercial space contracted as needed

Rented commercial space	  Other (specify)

Indicate distance from your institution:

What is the mode of transportation between the two facilities?

Does a professional museum staff member always supervise packing/unpacking?  Yes		  No

What is the title of the staff person responsible?

2.32  Where do you usually store loaned objects before they are installed? (Indicate by numbering all appropriate items in priority order, with 1 being the space most frequently used.):

Receiving room			   Exhibition galleries

Exhibition preparation room		   Storage area

In-house packing facility		   Outside packing facility

2.33  Do you have a freight elevator?							  Yes		  No

Interior dimensions: L        W        Ceiling H

Load capacity:

BUILDING CONSTRUCTION, CONFIGURATION AND MAINTENANCE (cont.)

Storage

2.34  Do you have a secured storage area for temporary exhibition objects?		  Yes		  No

Interior dimensions: L         W         Ceiling H

Dimensions of door: H         W

Is it: 	Separate from your permanent collection storage			  Yes		  No

Locked									  Yes		  No			Alarmed								  Yes		  No			Climate-controlled							  Yes		  No

(See Section 3 for detailed environmental information)

Who has access/keys?

How is access controlled?

2.35  Do you have fire detection and/or suppression systems in your temporary exhibition object storage area?  (See Section 4 for detailed information on fire protection)					  Yes		  No

Describe:

2.36  Do you have a highly secured storage area for precious small temporary exhibition

objects?										  Yes		  No

If yes describe:

2.37  Where do you store empty crates? ("x" all appropriate)

On-premises	  Off-premises

If on-premises, is area:		  temperature-controlled

pest-controlled

humidity-controlled

If off-premises, is area: 		  temperature-controlled

pest-controlled

humidity-controlled

3. Environment

Heating and Air Conditioning

3.1  Is your environmental control system in operation 24 hours a day, 7 days a week

including times when the museum is closed?						  Yes		  No

Is there a back-up system for your environmental control system?		  Yes		  No

If yes, how long can it operate?

3.2  Indicate the type and location of your environmental control systems ("x" all appropriate):

|  | Temporary Exhibition Storage | Temporary Exhibition Gallery | Throughout Building |
| --- | --- | --- | --- |
| Centralized 24-hour temperature control system |  |  |  |
| Centralized 24-hour humidity control system |  |  |  |
| Centralized 24-hour filtered air |  |  |  |
| Simple air conditioning (window units) |  |  |  |
| Simple heating |  |  |  |

3.3  Describe cooling system:

|  | Type | Year Installed or Upgraded |
| --- | --- | --- |
| In temporary exhibition galleries |  |  |
| In temporary exhibition storage |  |  |

3.4  Describe heating system (i.e., convection, forced air, solar):

|  | Type | Year Installed or Upgraded |
| --- | --- | --- |
| In temporary exhibition galleries |  |  |
| In temporary exhibition storage |  |  |

3.5  Are portable heating devices used anywhere in your facility?				  Yes		  No

If so, what kind and where?

3.6  Describe humidity control equipment:

|  | Type | Year Installed or Upgraded |
| --- | --- | --- |
| In temporary exhibition galleries |  |  |
| In temporary exhibition storage |  |  |

3.7  Do you use any additives (i.e. corrosion-inhibitors, water treatments) in your

humidification system?									  Yes		  No

If yes, explain:

ENVIRONMENT (cont.)

3.8  Who monitors and services the environmental systems?

Staff

On maintenance contract

Called repair as needed

3.9  How often are the environmental systems monitored and serviced?

3.10  What are the recorded temperature and relative humidity ranges in your:

|  | Temporary Exhibition Galleries |  | Temporary Exhibition Storage |  |
| --- | --- | --- | --- | --- |
|  | Temperature | % RH | Temperature | % RH |
| In Spring/Summer |  |  |  |  |
| In Fall/Winter |  |  |  |  |

3.11  What is the maximum usual variation percentage within a 24-hour period in your:

|  | Temporary Exhibition Galleries |  | Temporary Exhibition Storage |  |
| --- | --- | --- | --- | --- |
|  | Temperature | % RH | Temperature | % RH |
| In Spring/Summer |  |  |  |  |
| In Fall/Winter |  |  |  |  |

3.12  Who responds to environmental control system problems?

In-house personnel			  Contractor

Other (please specify):

3.13  Are records of the variations in temperature and relative humidity kept?		  Yes		  No

3.14  Do you have the ability to adjust your temperature and relative humidity levels to

meet the needs of different types of objects?						  Yes		  No

3.15  How many of each of the following do you have available and how often are they calibrated?

|  | Number available | Frequency of calibration |
| --- | --- | --- |
| Recording hygrothermographs |  |  |
| Psychrometers |  |  |
| Hygrometers |  |  |

3.16  Do you monitor and record temperature and relative humidity levels on a regular basis in:

Temporary exhibition galleries?							  Yes		  No

Temporary exhibition storage spaces?						  Yes		  No

Display cases containing environmentally sensitive material?			  Yes		  No

If yes, by what means:	  Recording hygrothermographs

Other (specify):

Indicate frequency:

Who is responsible for monitoring these levels?

ENVIRONMENT (cont.)

3.17  Are the environmental conditions in temporary exhibition galleries: ("x" the most appropriate)

Individually controlled

All controlled as part of the entire building or with several other rooms

3.18  Are the temporary exhibition storage areas: ("x" the most appropriate)

Individually controlled

All controlled as part of the entire building or with several other rooms

3.19  How closely are loan objects positioned to heating, air conditioning, or humidification vents or units?

Describe:

Lighting

3.20  What type of lighting do you utilize in the temporary exhibition galleries? ("x" all appropriate)

Daylight						  Fluorescent

Windows						  UV Filtered

UV filtered					  Incandescent

Equipped with shades or drapes			  Tungsten

Skylights							  Iodide

UV filtered						  Quartz

Equipped with shades or drapes			  Other (specify)

3.21  Do you have a light meter?								  Yes		  No

If yes, what type:

Do you have a UV meter?							  Yes		  No

3.22  How low can you adjust your light levels (# of foot-candles)?

3.23  Is your institution capable of building vitrines with special requirements upon request?														  Yes		  No

3.24  Are display cases equipped with dust filters?					  Yes		  No

3.25  Are display cases ever internally lit?						  Yes		  No

If yes, what type of lighting is used in the display cases ("x" all appropriate):

Fluorescent		  Incandescent	  UV filtered		  Fiber optic

3.26  Are objects in display cases safeguarded against ultraviolet rays and heat build-up

from interior lights?									  Yes		  No

If yes, how:

4.  FIRE PROTECTION

Contact your local fire department or municipal building department for assistance, if necessary, in answering questions 4.1 and 4.2 and 4.15.

4.1  What is the fire rating of your building (e.g., A1)?

4.2  Is the entire building protected by a fire and/or smoke detection/alarm system?	  Yes		  No

If yes, indicate type (ion detectors, etc.):

If no, describe areas not protected:

4.3  Do your institution's fire detection/alarm systems employ components listed by

Underwriters Laboratories?								  Yes		  No

Are the systems installed according to UL standards?				  Yes		  No

4.4  Are all emergency exit doors equipped with alarms?					  Yes		  No

If yes, indicate type:

Do doors automatically unlock when a fire alarm is activated?			  Yes		  No

4.5  How are the systems checked?

By whom?

How frequently?

4.6  How is the fire/smoke detection/alarm system activated?  ("x" all appropriate)

|  | Temporary Exhibition Galleries | Temporary Exhibition Storage Areas |
| --- | --- | --- |
| Self-activated heat detection |  |  |
| Self-activated smoke detection |  |  |
| Control panel |  |  |
| Manual pull stations |  |  |
| Water flow switches in sprinkler system |  |  |

4.7  Who does your fire alarm system alert?  ("x" all appropriate)

In-house central station (proprietary system)

In-house audible devices

Local fire station--direct line

UL/FM-approved central station (specify company)

Other (specify)

FIRE PROTECTION (cont.)

4.8  Indicate the type(s) of fire suppression system(s) in operation where loaned object(s) will be received, stored and exhibited: ("x" all appropriate)

Sprinklers

|  | Received | Stored | Exhibited |
| --- | --- | --- | --- |
| Wet pipe |  |  |  |
| Dry pipe |  |  |  |
| Delayed action |  |  |  |
| Pre-action |  |  |  |
| Other |  |  |  |

Location(s):

Year installed

Are the staff and guards trained in shut-off procedures?				  Yes		  No

Gaseous fire suppression systems

|  | Received | Stored | Exhibited |
| --- | --- | --- | --- |
| Halon |  |  |  |
| Clean agent |  |  |  |
| Other |  |  |  |

Location(s)

Year installed

| Fire hose cabinets per | Received | Stored | Exhibited |
| --- | --- | --- | --- |
| local fire code |  |  |  |

Are fog nozzles installed?							  Yes		  No

| Portable fire | Received | Stored | Exhibited |
| --- | --- | --- | --- |
| extinguishers |  |  |  |

Specify type (e.g., pressurized water, carbon dioxide, dry chemical, foam, Halon, acid, other)

4.9  How often are portable extinguishers tested?

4.10  How frequently is the staff trained in the use of portable fire extinguishers?

4.11  In what areas and under what conditions is smoking allowed in your building?

4.12  How far is your institution from the local fire station?

4.13  How long does it take the fire department to arrive at your facility in response to an alarm?

4.14  How far is your building from the nearest fire hydrant?

FIRE PROTECTION (cont.)

4.15  Is your local fire station staffed 24 hours a day?					  Yes		  No

What is the town class number for the fire department? (NB 4, NB 5, NB 9)?

Is there an on-site fire brigade?							  Yes		  No

Has the fire department visited your facility and met with you to pre-plan a

course of action should a fire occur at your facility?				  Yes		  No

Date of the last visit by the fire department for pre-planning:

4.16  Do you have an established fire emergency procedure?				  Yes		  No

If yes, how frequently is the staff trained in this procedure?

5.  SECURITY

Guards and Access

5.1  Do you have 24-hour human guard security (as opposed to periods of electronic-only

surveillance)?										  Yes		  No

If no, would your institution be willing to hire additional guards, if required?	  Yes		  No

5.2  What type of security personnel does your institution utilize?  ("x" all appropriate)

Security employees of your institution

Other staff

Contractors from an outside service company	Name of company

Students

Volunteers/docents

Other (specify)

5.3  Do you have a trained security supervisor in charge at all times?			  Yes		  No

5.4  Are your security personnel specially trained for your facility?				  Yes		  No

If yes, briefly explain the extent and duration of their training:

5.5  Are your guards ("x" all appropriate)

Armed?					  Radio-equipped?

Pager-equipped?				  Phone-equipped?

Other (specify)

5.6  Do you conduct background checks on guards prior to hiring?			  Yes		  No

Do you perform honesty testing on prospective or new employees?		  Yes		  No

Do you perform background checks on prospective or new employees?		  Yes		  No

5.7  Indicate the number of guards normally on duty:

|  | Throughout Building |  | In Temporary Exhibition Galleries |  |
| --- | --- | --- | --- | --- |
|  | Stationary | Patrolling | Stationary | Patrolling |
| During public hours (day/evening) |  |  |  |  |
| When closed to the public, but open to staff |  |  |  |  |
| During closed hours |  |  |  |  |

5.8  How many galleries are assigned to each guard?

5.9  Is a guard assigned during installation and deinstallation?				  Yes		  No

If no, can one be, if required?							  Yes		  No

How is access restricted during installation and deinstallation of temporary exhibitions?

SECURITY (cont.)

5.10  How often are temporary exhibition galleries checked when closed?

By whom?

How is the frequency of these checks ensured (e.g., checkpoint system, etc)?

5.11  How often are "checklist" checks made of the objects in temporary exhibitions?

Who is responsible for these checks?

5.12  Do you make a photographic record of objects within each temporary exhibition gallery?														  Yes		  No

5.13  Do you maintain records on internal movement and relocation of borrowed objects?	  Yes		  No

5.14  Are security personnel stationed at all entrances and exits to the building during open

hours?											  Yes		  No

If no, explain:

5.15  Indicate the positions/titles of those individuals authorized to sign for the removal

of museum objects from the building:

5.16  Is every object entering or leaving the building signed in and out by security personnel?														  Yes		  No

5.17  Are the contents of bags, briefcases, etc. checked upon entering and exiting?	  Yes		  No

Is there a handcarry size restriction?						  Yes		  No

If yes, what is it?

What is your policy on use of tripods in temporary exhibition galleries?

5.18  Do you have a sign-in/sign-out procedure for guards and after-hours personnel?	  Yes		  No

5.19  How many staff members have keys to exterior doors?

Specify positions/titles:

5.20  Are exterior perimeter checks of the building carried out?				  Yes		  No

If yes, by whom and how frequently?

SECURITY (cont.)

5.21  Do your staff (paid and volunteer) and special guests wear identifying badges when

in non-public areas of your building?							  Yes		  No

5.22  Do you have an emergency response plan?					  Yes		  No

Do you have a disaster recovery plan?						  Yes		  No

Please list the date of the last revision for each:

If your institution utilizes such plans, how frequently is the staff trained in their implementation?

5.23  What emergency procedures are observed in the case of theft or vandalism?

Physical and Electronic Systems

5.24  Do you have an electronic security alarm system in operation throughout the building?														  Yes		  No

If no, specify which areas are not protected:

5.25  What types of detection equipment are in operation ("x" all appropriate)

Magnetic contacts			  Microwave motion detectors

Photo electric beams		  Passive infrared motion detectors

Ultrasonic motion detectors		  Pressure mats on switches

Sonic sensors			  Closed circuit TV

Break glass sensors			  Water detection devices

Other (specify)

5.26  Is your institution's security system certified by Underwriters Laboratories?		  Yes		  No

Are its components listed by UL?						  Yes		  No

5.27  Where does your detection system sound an alarm?  ("x" all appropriate)

Proprietary central station

Local audible alarms

Local police--direct line (if ALL systems do not automatically register at the police station, indicate 		which ones do not)

UL/FM central station (specify company)

Other (specify)

SECURITY (cont.)

5.28  Do exterior doors open directly into the temporary exhibition area?			  Yes		  No

If yes, indicate locking mechanism:

5.29  Are there windows in the temporary exhibition area?				  Yes		  No

If yes, what type of physical security (e.g., bars, gates, mesh) protects them?

5.30  Are all the building's exterior openings (including entry/exit doors, windows, roof doors

and air ducts) secured and alarmed?							  Yes		  No

If no, explain:

5.31  How are your security systems tested?

How often?

Who undertakes these tests?

5.32  Are tests conducted to determine the adequacy and promptness of human response

to alarm signals?									  Yes		  No

If yes, how frequently?

5.33  Are records kept of all alarm signals received, including time, date, location, action

taken and cause of alarm?								  Yes		  No

Who is responsible for keeping these records?

5.34  How are fragile, small or extremely valuable objects protected?

Check all appropriate:

Acrylic vitrines

Glass vitrines

Wall/permanent cases

Free-standing cases (specify construction):

Locked cases

Cases secured with exposed screws

Cases secured with covered screws

Cases secured with security screws

Cases with sealed seams

Alarmed cases (specify type)

Other (specify)

If none of the above, is your museum willing to borrow or construct secure cases?   Yes	  No

SECURITY (cont.)

5.35  How are small wall-mounted objects affixed to the wall to deter theft?  (e.g., security plates, etc.)

5.36  What hardware is used to hang large, framed works?

5.37  Can framed objects be individually alarmed, if required?				  Yes		  No

5.38  Indicate methods utilized to deter public access to large exposed objects:

6.  HANDLING AND PACKING

6.1  Do you have personnel available for loading and unloading?				  Yes		  No

If yes, how many?

6.2  Do you have staff specially trained to pack and unpack objects?			  Yes		  No

If yes, how many?

Supervised by whom?

What type of training is provided?

Do volunteers or interns handle borrowed objects?				  Yes		  No

If yes, how are they trained and who supervises their work?

6.3  Are written incoming and outgoing condition reports made on all objects?		  Yes		  No

If yes, by whom?

6.4  When do staff use gloves for handling objects?

6.5  Is matting and framing carried out by your staff?					  Yes		  No

If no, indicate by whom:

6.6  Does your institution have a van or truck appropriate for transporting loan objects?	  Yes		  No

If yes, provide dimensions of:		Door (H        W      )

Interior (L       W       Ceiling H      )

Is the vehicle ("x" all appropriate):	  Air-ride

Climate controlled

Equipped with an alarm system

Equipped with movable straps

Equipped with lift gate

6.7  For the movement of objects, which companies (either air or ground) have given consistently good and conscientious service to your institution?

| Company Name | Contact Individual | Telephone Number |
| --- | --- | --- |

7.  INSURANCE

7.1  Which company provides insurance for your institution?

Broker’s name:

Address:

Telephone number:

Fax number:

7.2  How long have you carried insurance with this company?

7.3  What coverage does your policy for borrowed objects provide?  Please “x” all that apply:

All-risk museum coverage, wall-to-wall (while on exhibit and in transit), subject to the standard 		      exclusions

Coverage against burglary and theft

Coverage against fire

Coverage against rising water and water damage

Coverage against natural disasters (i.e., earthquake)

Coverage against mysterious disappearance

Coverage against employee dishonesty

7.4  What are the applicable non-standard exclusions of your policy affecting loans?

7.5  What are the deductible limits of coverage for borrowed objects?

7.6  Have there been any individual damages or losses over $5,000 to permanent, loaned or borrowed

collections incurred during the last three years (whether or not a claim was filed)?		  Yes		  No

If yes, state the date of damage or loss, circumstances and cause, extent of the damage or loss, whether 	there was litigation or subrogation to determine blame or negligence (add additional sheet, if necessary).

What precautions have now been undertaken to prevent any further incidents?

8. LOAN HISTORY

8.1  List several temporary exhibitions you have recently hosted:

| Exhibition Title/Organizing Institution | Year |
| --- | --- |

8.2  List other institutions you have borrowed from recently:

| Name of Institution | Object Type | Year |
| --- | --- | --- |

9.  ADDITIONAL INFORMATION AND COMMENTS

10.	VERIFICATION AND RESPONSIBILITY

THE UNDERSIGNED IS A LEGALLY AUTHORIZED AGENT FOR THE SUBJECT INSTITUTION AND HAS COMPLETED THIS REPORT.  THE INFORMATION INDICATED PROVIDES A COMPLETE AND VALID REPRESENTATION OF THE FACILITY, SECURITY SYSTEMS AND CARE PROVIDED TO OBJECTS (BOTH OWNED AND BORROWED).

Signature

Typed Name

Title

Date

PLEASE SIGN AND DATE BELOW TO INDICATE THAT THE INFORMATION PROVIDED IN THIS DOCUMENT HAS BEEN REVIEWED FOR ACCURACY AND HAS BEEN UPDATED WHERE NECESSARY WHEN IT IS REISSUED.

SUBSEQUENT REVIEWS:

Signature				Title					Date

Signature				Title					Date

Signature				Title					Date

Signature				Title					Date